Traceability of organic contaminants in the sludge line of wastewater treatment plants: A comparison study among schemes incorporating thermal hydrolysis treatment and the conventional anaerobic digestion

Israel Díaz a b, Alina Díaz-Curbelo a b, Nereida Pérez-Lemus a b, Fernando Fdz-Polanco a b, Sara Isabel Pérez-Elvira a b *

a Department of Chemical Engineering and Environmental Technology, University of Valladolid, Dr. Mergelina s/n, 47011 Valladolid, Spain.

b Institute of Sustainable Processes, University of Valladolid, Dr. Mergelina s/n, 47011 Valladolid, Spain.

* Corresponding author: Sara Isabel Pérez-Elvira (E-mail: sarape@iq.uva.es)

Abstract

The traceability of conventional pollutants and 10 organic microcontaminants in the sludge line of a wastewater treatment plant (WWTP) was evaluated. The application of thermal hydrolysis (TH) as pre-treatment to anaerobic digestion (AD) or as inter-treatment (between two AD stages) was considered and compared with the conventional digestion scheme. TH scenarios reduced the mass flow rate of biosolids (40-60%) as well as the ratio of solids (50-100%), organic matter (5-26%) and nitrogen (8-13%) destined to biosolids. Micropollutants showed a strong tendency to accumulate in the solid phase (more than 90% were sorbed) in spite of thermal and dewatering processes, but TH scenarios exhibited greater removal efficiency (80%) in comparison to conventional AD (50%), reducing the ratio of micropollutants destined to biosolids from a conventional 48% to 7-8%. These findings reveal that TH could increase the value of biosolids from sewage sludge treatment because of greater removal of pollutants and dewaterability.

Keywords: Anaerobic digestion; Organic micropollutants; Sewage sludge; Traceability; Thermal hydrolysis.

1. Introduction

In WWTP, water is treated by physico-chemical and biological processes to remove undesirable pollutants to the water bodies, and sewage sludge is the resulting stream where the pollution ends; sludge catches more than 90% of the solids, over 60% of the organic matter and about 60% of the nitrogen. Apart from these conventional contaminants, emerging micropollutants have become the new challenge of WWTP for their persistence, bioaccumulation and biological activity, and previous studies exhibit that the sludge line is the end point of most of them (Gonzalez-Gil et al., 2016; Narumiya et al., 2013). The different physical, chemical and biological unitary processes applied during sewage sludge treatment impact the fate of the different types of pollutants and the regulated destiny of the final biosolids. Among the sludge treatment and valorisation alternatives, sewage sludge lines with a core AD process followed by dehydration are extensively applied in WWTP because of several benefits regarding organic matter removal, biosolids stabilization, pathogens deactivation and nutrients separation (Appels et al., 2011). However, high concentrations of heavy metals, industrial pollutants and sometimes pathogens might limit its applicability (Liu et al., 2018; Singh and Agrawal, 2008), especially in those countries where sludge is used as a fertilizer for agriculture.

Regarding the performance of the AD, which is key from the dual objective of biogas production (energetic valorisation) and sludge reduction (agronomic valorisation), conventional AD of sludge lacks efficiency. It requires long hydraulic retention times (HRT) to achieve high organic matter removal (typically less than 40% for a HRT over 30 d) as a consequence of the low hydrolysis rate of complex organic material produced during the activated sludge process (Appels et al., 2008). Different approaches have been proposed and evaluated to optimize AD of sludge, such as pre-treatments to solubilise the solid organic matter. Among them, the thermal hydrolysis process (TH), which consists in heating the sludge over its boiling point under pressure (typically by saturated steam injection), has shown to be a reliable pre-treatment method to facilitate subsequent AD of sludge with a global positive energy balance; the energy required for the process can be recovered by the increase in biogas production during AD (Cano et al., 2015). This is evidenced by its growing implementation in WWTP, with 75 full-scale facilities reported (Barber, 2016).

Apart from this TH pre-treatment configuration, novel schemes of TH implementation in the sludge line have arisen from recent research, such as a post-AD TH step (Yang et al., 2019), and the intermediate thermal hydrolysis (ITH), between two stages of AD, (Campo et al., 2018; Shana et al., 2013). The application of ITH has shown to facilitate the degradation of recalcitrant chemical oxygen demand (COD) during the second AD-step, with much lower energy requirement compared to the TH pre-treatment configuration, thus achieving a higher performance of organic matter removal and biogas production (Ortega-Martinez et al., 2016; Ruffino et al., 2019) and an enhanced dewatering of the digestate.

There is no report on the traceability of organic contaminants in the sludge line, neither on the effect of the implementation of a thermal unit (pre-, post- or inter-treatment) on the pollutants fractioning and fate to the final biosolids. When TH is implemented, whether before, after or between two AD stages, distribution of pollutants among phases and streams is altered. In this sense, TH pre-treatment revealed a larger solubilisation of polysaccharides and proteins (Donoso-Bravo et al., 2011), which could result in a potential inhibition because of ammonium generation during AD (Zhuo et al., 2018). To optimize energy consumption for the application of ITH, the application of two thickening stages has been proposed (Ortega-Martinez et al., 2016); an initial stage to feed the first AD and second one to feed the ITH, hence an additional liquid stream was generated.

Regarding organic micropollutants, no global study is reported on their fractioning along the sludge line, and the studies about the biotransformation of organic micropollutants during AD and the effect of TH on their removal or bioavailability are contradictory. Although extensively studied, there is no consensus on the fate of organic micropollutants. Most of the authors agree that they are mainly sorbed to the solid phase of digested sludge (Gonzalez-Gil et al., 2016; Narumiya et al., 2013). Some studies suggest that sludge pre-treatment can be used to improve micropollutants biotransformation by enhancing their accessibility (Aemig et al., 2016; Gonzalez-Gil et al., 2018; Reyes-Contreras et al., 2018; Zhang and Li, 2018), while others conclude that TH does not substantially increase their biotransformation efficiency during AD (Taboada-Santos et al., 2019). Consequently, the traceability of contaminants and possible route to the biosolids need to be assessed in order to evaluate the risk of land application of the final biosolid obtained.

Therefore, the aim of this study is to evaluate the traceability of pollutants in a WWTP sludge line when TH is employed, whether as a pre-treatment or an inter-treatment between two stages of AD, and compared with the conventional AD. For this purpose, the concentration and mass flow rate of macropollutants (total solids, volatile solids, COD, organic nitrogen and ammonium) as well as 10 microcontaminants (methylparaben, ethylparaben, propylparaben, clofibric acid, ibuprofen, salicylic acid, naproxen, triclosan, diclofenac, bisphenol A) were determined in the different solid and liquid streams generated during sludge treatment.

2. Materials and Methods

2.1. Experimental set-up

2.1.1. Scenarios

Three scenarios of sludge treatment were evaluated (Figure 1), namely:

- Conventional AD of thickened sludge and digestate dewatering (AD scenario),

- TH pre-treatment of thickened sludge followed by AD and digestate dewatering (TH+AD scenario), and

- AD of thickened sludge followed by thickening and ITH of digestate, and subsequent AD of the hydrolysed digestate and final dewatering (AD+TH+AD scenario).

Data from each scenario were experimentally obtained by performing continuous operation, periodic sampling and analysis of each stream identified in Figure 1, as described below.

2.1.1.1. Base scenario: Conventional full-scale anaerobic digestion of sludge (AD scenario)

The conventional full-scale AD of sludge (AD scenario) performed in the WWTP of Valladolid (Spain) was considered the base scenario (Figure 1.a). In the WWTP, fresh mixed sludge (FM-a), composed of sludge from the primary settler and waste activated sludge, is firstly thickened in centrifuges to increase the solids concentration for a suitable AD, thus obtaining the thickened mixed sludge (FM-b) and a return liquor (RET) which is returned to the water treatment line. FM-b is anaerobically digested at 35 ºC for 30 d producing biogas (BIOGAS) and the digestate (DIG) is finally dewatered in centrifuges producing a biosolid (BIOS) and a centrate (CENT) also returned to the water treatment line. Samples of FM-a, FM-b, RET, DIG, BIOS and CENT were collected, and the concentration of pollutants was determined to evaluate their traceability.

2.1.1.2. Thermal hydrolysis pre-treatment followed by anaerobic digestion (TH+AD scenario)

When TH was applied as a pre-treatment (Figure 1.b), samples of FM-a were collected from the WWTP, concentrated by centrifugation in the laboratory (10,000 rpm and 10 min) to produce FM-b and a liquid stream (RET). FM-b was thermally pre-treated in a lab-scale TH plant (170 ºC and 20 min). Afterwards, the hydrolysed sludge (TH) was fed to a lab-scale anaerobic digester and employed as substrate for biochemical methane potential (BMP) tests. Finally, the digestate (TH-DIG) was centrifuged for dewatering to obtain the CENT and the BIOS. The concentration of pollutants was measured in FM-a, FM-b, RET, TH, TH-DIG, BIOS and CENT.

2.1.1.3. Intermediate thermal hydrolysis between two stages of anaerobic digestion (AD+TH+AD scenario)

In this scenario (Figure 1.c), the initial thickening and digestion steps match with those in the base scenario of conventional AD, followed by the corresponding specific operation scheme, which is parallel to the TH+AD scheme. In this case, the sludge sampled to be subjected to thickening, TH, subsequent AD and final dewatering was anaerobically digested sludge (DIG-a) collected from the WWTP. DIG-a samples were centrifuged to generate a concentrated digestate (DIG-b) and a return liquor (RET-2). DIG-b was thermally hydrolysed in the TH plant in the laboratory (170 ºC and 20 min). The hydrolysed digestate (TH) was then anaerobically digested in a lab-scale digester and employed for BMP tests, to obtain biogas (BIOGAS 2) and the final digestate (TH-DIG), which was dewatered by centrifugation to obtain the CENT and the final BIOS. The concentration of pollutants was determined in DIG-a, DIG-b, RET-2, TH, TH-DIG, BIOS and CENT. In this scenario, the concentration and flow rates of the streams FM-a, FM-b, BIOGAS 1, RET were assumed to be those of the conventional full-scale AD of sludge (AD scenario).

2.1.2. Thermal hydrolysis plant and operating conditions

The lab-scale TH plant consisted of a stainless-steel cylindrical batch reactor (PN25 DN100) with a working volume of 1 L (2 L total volume) coupled to a steam boiler (ETE H-20, Spain) and a 35L stainless-steel flash tank. Sludge (fresh or digested, depending on the scenario to assess) was manually fed to the reactor through a feeding cone and a ball valve, and then a saturated steam (16 bar) was supplied from the boiler and regulated with a control valve (RTK MV 5211, Germany) to achieve a temperature of 170 ºC in the reactor. Every batch required 20 min to achieve the desired temperature and this was maintained for an additional 20 min before a sudden decompression of the sludge, by opening the release valve (PRISMA PA15S, Spain), in the flash tank to atmospheric pressure (steam explosion effect), while the process vapours were released. These operating conditions were based on previous studies (Sapkaite et al., 2017), which reported optimal conditions for sludge pre-treatment of 160 – 180 ºC for 20 to 40 min and a sudden decompression to atmospheric pressure.

2.1.3. Lab-scale anaerobic digestion: anaerobic digesters and biochemical methane potential tests

AD in the laboratory was performed in continuously-fed digesters (20 L working volume) built in polyethylene (PE) and coated with an electric resistance to maintain mesophilic conditions (35 ºC). Sludge was fed with peristaltic pumps (Watson-Marlow 323, UK) to achieve a residence time of 20 d, mixing was provided by sludge recirculation (Watson-Marlow 530, UK) at a rate of 0.3 L min-1 and the biogas flow rate was measured by liquid displacement at atmospheric pressure. The continuous operation was kept in each scenario for 8 months, sampling inlet and outlet twice a week for characterization.

In addition, BMP tests were performed in triplicate to evaluate whether lab-scale digesters were close to the biodegradability potential of the sludge. 160 mL flasks were filled to a volume of 90 mL with a substrate-to-inoculum volatile solids (VS) ratio of 0.5 gVS gVS-1, sealed with a septum and a crimp and flushed with helium. Biogas production was measured manually with a pressure transducer and the composition by collecting samples (100 µL) with a gas-tight syringe and subsequent injection in a gas chromatograph coupled to a thermal conductivity detector (GC-TCD). Details about the BMP tests are described elsewhere (Donoso-Bravo et al., 2011).

2.2. Analytical procedures

2.2.1. Characterization of conventional pollutants

The concentration of total solids (TS), VS, COD, soluble COD, total Kjeldahl nitrogen (TKN) and ammonium were determined by standard methods (APHA, 2012). The soluble phase of streams was attained by centrifuging samples (10,000 rpm and 10 min) in a Thermo Sorvall Legend RT+ Refrigerated Benchtop Centrifuge (Madrid, Spain) and subsequent filtration of the supernatant with a glass-fibre syringe filter (0.7 µm pore size).

2.2.2. Selection and characterization of organic micropollutants

Organic micropollutants include a large number of compounds such as pharmaceuticals and personal care products (PPCPs) used in daily life and usually found in sewage sludge (Pérez-Lemus et al., 2019). Ten PPCPs were selected as target analytes and the choice was based on their physicochemical properties (i.e., lipophilicity, solubility, vapour pressure, among others) and also the huge use of these PPCPs belonging to different categories (i.e., pharmaceuticals, preservatives, endocrine disruptors, herbicides and antiseptics) and their presence in this type of environmental matrices. The PPCPs selected correspond to three preservatives, methylparaben (MP), ethylparaben (EP) and propylparaben (PP); three anti-inflammatories, ibuprofen (IBP), naproxen (NPX) and diclofenac (DFC); two endocrine disruptors, triclosan (TCS) and bisphenol A (BPA); one herbicide, clofibric acid (CA); and one antiseptic, salicylic acid (SA). In addition, these target analytes were suitable for analysis by gas chromatography- mass spectrometry (GC-MS).

The analysis of this type of complex samples consisted of direct immersion Solid-Phase MicroExtraction on-fibre derivatization-gas chromatography-mass spectrometry (DI-SPME-on-fibre derivatization-GC-MS) (López-Serna et al., 2018). The work here presented used the analytical method developed by López-Serna et al. (2018) with some modifications to achieve a resulting methodology which highlights environment safety, short time consumption and an increase of SPME fibre lifespan. Analytical method development and optimization for sewage and sludge samples was carried out by López-Serna et al. (2018) and the information concerning the analytical methodology was included by the authors in the experimental section of the publication. Some examples of chromatograms obtained from water and sludge samples after the application of the optimized method were also reported in the same publication.

The methodology for the solid phase consisted of the following steps: 1) A volume of 180 mL of the homogeneous sewage sludge was centrifuged at 10,000 rpm for 10 min. The solid phase was collected and stored at -20 ºC in darkness. 2) The frozen samples were freeze-dried and stored in the dark at -20 ºC until analysis. 3) ~800.0 mg of freeze-dried sample was placed in a vessel and spiked with 200 µL of a mixture of the all isotopically labelled internal standards at 2 mg L-1 in acetone and remained overnight for the solvent evaporation. 4) A volume of 24 mL of MilliQ® water/MeOH mixture, 95/5 (v/v) at pH 9 and 100.0mg of activated alumina (Al2O3 at 100 ºC for 48 h) were added for in-situ matrix clean-up, which were then vortex-stirred for 1 min. 5) The sample was subjected to Microwave Assisted Extraction (MAE) for 30 min at 110 ºC in a Milestone START-D Microwave Digestion System (Madrid, Spain). 6) Afterwards, the extract was centrifuged at 10,000 rpm for 10 min and the supernatant was collected and transferred to a 25 mL glass beaker. 7) The resulting supernatant was saturated with NaCl at 36% (weight/volume) and was also adjusted at pH 3 with hydrochloric acid (HCl). 8) Finally, the extract was filtered through a 0.7 µm glass-fibre syringe filter and 17.0 mL of the resulting solution was collected in a 20.0 mL SPME glass vial for the analysis for online direct immersion Solid-Phase MicroExtraction on-fibre derivatization-gas chromatography-mass spectrometry (DI-SPME-on-fibre derivatization-GC-MS). The liquid phase of the centrifuged sludge samples, and those corresponding to liquor streams (RET, RET-1, RET-2 and CENT), were also determined by following the steps 7) and 8).

In addition, the solid and liquid phases were quantified (mass and solids content) and analysed independently in triplicate. Precision, corresponding to the overall method repeatability, was calculated as the relative standard deviation (% RSD) of equal samples in triplicate. The % RSD results obtained in the same time (intra-day precision) were lower than 10% and the % RSD results obtained in different days (inter-day precision) were below 21%.

2.3. Calculations (mass balances)

Although the results for pollutants traceability were expressed as a percentage with respect to the sludge inlet, the mass basis chosen to perform the calculations was 1000 ton of mixed sludge (FM-a) feeding. This value is approximately equivalent to the daily sludge production of 230,000 equivalent inhabitants or a WWTP treating a flow rate of wastewater of 50,000 m3 d-1.

The initial characterization of this feeding is presented in Table 1, and corresponds to a typical fresh mixed sludge (63%VS/TS, 9% SCOD/TCOD, 1.8 TCOD/VS).Total mass balances were first performed to identify the total flow of each stream, and then the fractioning of each pollutant was calculated incorporating to the calculation the corresponding concentration value (shown in Tables 1 and 3). The density of all streams was considered to be constant (1000 kg m-3).

For the thickening and dewatering, mass fractioning into thickened stream and liquor was calculated by mass balances according to the concentration of TS measured. The performance of the TH and the AD in each scenario were obtained from experimental operation (inlet and outlet concentration values). The steam needed in the TH was experimentally obtained from dilution values (1.4 dilution factor) and biogas in AD were calculated as mL CH4 gVSfed-1 and later converted to flow (m3) with the corresponding VS fed mass flows.

3. Results and Discussion

3.1. Traceability of conventional contaminants

3.1.1 Effect of TH on the physico-chemical characteristics of sludge streams

Table 1 presents the results of the characterization, which generally agree with those previously reported (Appels et al., 2011; Fernández-Arévalo et al., 2017; Ortega-Martinez et al., 2016). The values exhibit a general change among scenarios in the characteristics of all the streams, from the thickened feeding (FM-b) to BIOS and return liquors (RET and CENT). In the schemes with TH, the feeding to the TH unit (FM-b for TH+AD and DIG-b in AD+TH+AD) was concentrated to nearly 11%TS (compared to 4%TS in conventional AD), due to the need to reduce the amount of water to the thermal unit for energy sustainability reasons. Cano et al. (2015) reported that sludge concentration is the key parameter for energy integration and economic sustainability of TH plants. It is also remarkable the decrease of all the parameters in the TH outlet (TH) compared to the inlet, due to the dilution (1.4 factor) of the steam used to heat the sludge. Regarding the biosolids, the final concentration achieved in terms of solids (and therefore in the rest of parameters) with respect to AD biosolids was 50% and 100% higher for TH+AD and AD+TH+AD schemes, respectively. The reason is the enhanced dewaterability of the sludge when suffering a thermal pre-treatment, which favours getting a more concentrated cake. All these results match with previously reported laboratory pre and post- TH characterization values (Wang et al., 2018, Ortega-Martinez et al., 2016, Ruffino et al., 2019).

3.1.2. Influence of TH on anaerobic digestion of mixed or digested sludge

In agreement with literature, the introduction of a TH step before AD, enhanced the performance of the digestion by increasing the solids removal and subsequent methane production. These findings are also reported for full-scale facilities (Cambi, Biothelys, Exelys). An increase of VS removal from 35% (in conventional AD) to 40% in the TH+AD scheme was observed, together with an improvement in the methane productivity from 281±17 mL CH4 gVSfed-1 for fresh mixed sludge, 402±12 mL CH4 gVSfed-1 for hydrolysed mixed sludge. In the case of the intermediate digestion (AD+TH+AD), an extra 26% removal of VS was obtained when performing TH and AD to the digested sludge, joint to an additional methane productivity of 281±7 mL CH4 gVSfed-1 for the hydrolysed digested sludge. These results are in agreement with those reported elsewhere, for TH of mixed sludge and for digested sludge (Ortega-Martinez et al., 2016; Sapkaite et al., 2017, Mehari et al., 2018). From the values reported in Table 1 for the digested streams (DIG) and centrate (CENT) it must be noted that TS, VS, TCOD, TKN and ammonium concentrations were higher for the TH schemes. This was not only due to the enhanced thickening step for TH, but also indicated the release of non-biodegradable TCOD and ammonium, as a consequence of the hydrolysis and solubilisation that the solid matter suffered during the thermal treatment. The increase was especially remarkable for the TKN and N-NH4+ parameters (5-fold higher) than for solids and COD (which duplicates or triplicates), in accordance with other authors (Keymer et al., 2013; Souza et al., 2013, Suschka and Grübel, 2014).

3.1.3. Influence of TH on the traceability of conventional pollutants through the sludge line

The traceability of conventional contaminants through the sludge line in the three schemes and an estimation of the biogas production (from the biogas productivity reported in section 3.1.2) were calculated from values in Table 1 (Table 2). In order to get a general approach and compare the results of the three scenarios more easily, the values presented in Table 2 were treated to get relative values with respect to the feeding (FM-a) in terms of: (i) return liquors (RET from thickening and CENT from dewatering), (ii) removal (to BIOGAS), and (iii) biosolids (BIOS).

A general overview on the flow and main contaminants along the sludge line can be observed in Figure 2. A quick view of the results for a conventional sludge line, confirms that the double objective followed of mass reduction and stabilisation was achieved. Biosolids accounted for only 4% of the fresh sludge inlet, and TS and COD were removed by 35%. Biosolids contained 54%, 55% and 58% of TS, TCOD and TKN of the inlet, respectively, while the huge flow of liquor (96% in mass respect inlet) returned 10% of TS and COD and 35% of TKN.

When introducing a pre-treatment step before the digester (TH+AD scenario) the balances changed to a smaller quantity of biosolids (2.1% vs 3.5% in AD, due to the enhanced dewaterability) and a higher removal efficiency in terms of TS and COD, resulting in a smaller fraction derived to biosolids (50% of TS and 43% of TCOD). The return liquors increased however the amount returned to the WWTP, especially in terms of COD (from 10 to 12% due to the solubilisation of non-degradable COD) and nitrogen (from 35% to 49%, mainly as ammonia released during TH).

Similar results were obtained when the pre-treatment step was introduced to treat the digested sludge (AD+TH+AD scheme), obtaining even a smaller ratio of biosolids (1.4%), with higher removal efficiencies and a subsequent decrease in the ratio of TS and TCOD derived to the biosolids (42% and 35%, respectively). The fractioning of TKN in this AD+TH+AD scenario changed favourably to the solids (50% of the inlet), as less nitrogen was released and returned.

These results match with the double objective followed for those promoting TH: to enhance biogas production and reduce the final sludge volume to be disposed, and the global performance results here presented are in agreement with those offered by TH suppliers (Cambi, Veolia, Sustec, teCH4+). Energetic sustainability can be obtained with a proper energy integration in the TH process, recovering heat to run the TH from hot streams and from the biogas engine. Additionally, TH technology reduces odour emissions and viscosity, and removes pathogens, obtaining a sterilized sludge that meets EPA Class A biosolids standards (Barber, 2016; Higgins et al., 2017; Wang et al., 2018). This sludge can then be used in agriculture without a further hygienization stage, allowing important economic savings in sludge disposal.

3.2. Traceability of emerging micropollutants

3.2.1. Characterization and solid/liquid distribution of organic micropollutans in sludge streams

A first question in order to focus the discussion is the ratio of micropollutants that corresponds to the solid phase of the sludge. Most of the studies reported analysis of the solid phase, while generally not linked to a prior justification of the contribution of the sorbed concentration with respect to the total. Being the solid-water distribution coefficient (KD, m3 kgTSS-1) a common approach to determine the fraction sorbed onto the suspended solids, there is no consensus in experimental values reported to be considered as a reliable tool.

The concentration of micropollutants in the solid and liquid fractions separated by centrifugation were determined for two types of sludge involved in the scenarios assessed (mixed sludge and digested sludge) both fresh and after a thermal pre-treatment. Although an immediate impulse is to directly compare the values of concentration obtained in the solid and liquid fractions before and after digestion or pre-treatment (Table 3) to assess their relative change, they are not comparable, as the solid-liquid partition is different for each sludge, and therefore the concentration is specific for that liquid volume (L) or solid mass (g). The corresponding calculations and discussion are presented in section 3.2.2.

From the characterization values in Table 3, the distribution of each micropollutant between solid and liquid phases was calculated, together with the distribution of total mass and total solids, in order to assess the hydrophobicity of the contaminants. The percentage of mass, solid and micropollutant in the solid phase with respect to the total sludge sample was calculated to assess the contribution of the solid phase to the total in these three aspects. The final averages are presented in Figure 3, summarizing all the micropollutants in an average single bar. The first clear observation for any sludge is that, while the solid fraction represents only a 10 to 20% of the total mass, it contains between 80 and 95 % of the solids, and over 90% of the organic micropollutants. Therefore, it is stated that all the micropollutants analysed are hydrophobic, sorbed to the solid phase. Figure 3 also exhibits that the smaller the TS recovery in the solid phase (77% in TH versus 95% in FM), the smaller the micropollutants relative content (91% versus 97%). While previous studies report concentration values of micropollutants in sludge (Gonzalez-Gil et al., 2016, Narumiya et al., 2013, Aemig et al., 2016, Reyes-Contreras et al., 2018; Zhang and Li, 2018), neither mass distribution of pollutants is included nor fractioning discussion is given, and therefore the results here presented are a novel insight.

As a conclusion, although organic micropollutants are detected in liquid and solid phases, they are mainly sorbed, being the analysis of the solid phases reliable to assess the occurrence and fate of micropollutants in the sludge.

3.2.2. Fate of organic micropollutants during TH and anaerobic digestion

An initial analysis of the observed concentrations (Table 3) exhibited that the highest concentration detected were for salicylic acid (antiseptic), triclosan and bisphenol A (endocrine disruptors), clofibric acid (herbicide) and ibuprofen (anti-inflammatory). The results here obtained are mostly in the range of those obtained by other authors (Clara et al., 2011; Gonzalez-Gil et al., 2016; Reyes-Contreras et al., 2018; Taboada-Santos et al., 2019), although the concentrations obtained for SA, CA, TCS and BPA are comparatively higher.

Additionally, the highest micropollutants concentrations corresponded to the fresh sludge feeding, and both the digestion and the thermal hydrolysis achieve their partial removal (Table 4). None of the compounds was totally removed, while the final concentration of the digested sludge became lower for the TH schemes (TH-DIG columns vs. DIG columns).

With the aim to compare the removal achieved by biotransformation (by AD) with the physical transformation (TH), removal efficiencies were calculated for both mechanisms (Figure 4). An average of 50% removal was achieved by AD (Figure 4a), and all the compounds exhibited to be partially biodegradable (ranging 48% for TCS and 70% for NPX). Results in literature are diverse, from insignificant removal (Clara et al., 2011; Phan et al., 2018) to complete removal, depending on the micropollutant. NPX generally exhibits high removal by AD, matching with this work. Some studies suggest a classification of micropollutants according to their biotransformation efficiency (Taboada-Santos et al., 2019), and others suggest that the hydrophobicity would enhance their biotransformation. However, this work does not identify neither totally degradable nor recalcitrant compounds, and shows that AD performance was not influenced by solid-liquid distribution of the contaminants, in agreement with previous reports (Gonzalez-Gil et al., 2016; Yang et al., 2017).

Regarding the effect of thermal hydrolysis on organic micropollutants, a noticeable increase in the removal from 5% in conventional AD to 85% in the combined TH+AD (Figure 3) was found. The effect of TH was the dominant one, removing on average 70% of the micropollutants. It cannot be concluded if this removal corresponded to thermal degradation or volatilization, as gas vapours generated in the thermal process were not analysed. Although the relative additional removal of micropollutants by digestion became smaller (15% removal by AD with respect to 71% by TH) (Figure 4b), the AD performance for pre-treated sludge was similar to the one for fresh sludge (nearly 50% removal efficiency). These results point that TH seems to be not effective to increase the bioavailability of micropollutants before AD, while achieving by itself a substantial removal, as previously reported by Taboada-Santos et al., 2019.

Information in the literature about the influence of TH on micropollutants fate and subsequent digestion is scarce and most of the references just report and compare concentration values in the solid phase, without correction of the relative contribution of this value to the total, and the corresponding risk of misunderstanding. While not for the same compounds, some authors reported a decrease in the micropollutants concentration by TH in the range 20-60% (McNamara et al., 2012; Taboada-Santos et al., 2019; Zhang and Li, 2018) and attribute the results to volatilisation.

3.2.3. Effect of TH on the traceability of organic micropollutants through the sludge line

From the values in Table 4, the global removal efficiencies in the three schemes (AD, TH+AD and AD+TH+AD) were calculated (Figure 5). A noticeable enhancement in the micropollutants removal in the scenarios with a thermal step was observed; around 80% removal in TH+AD and AD+TH+AD scenarios with respect to 50% in conventional AD. The highest removal efficiencies were generally obtained for NPX, IBP, EP and CA (>90%). While for most of the compounds the removal was similar for TH+AD and AD+TH+AD scenarios, in some others there was a difference, due to the different relative AD or TH removal efficiency for those compounds.

The mass balances (Table 2) were extended to the calculation of the traceability of organic micropollutants by combining flow values with the micropollutants concentration values presented in Table 4. The results are shown in the last column of Table 2

Similarly with the approach for conventional contaminants, the values presented in Table 2 were treated to get relative values with respect to the feeding (FM-a) in terms of return, removal (by TH and AD), and biosolids (BIOS). The resulting calculation of the traceability of the micropollutants along the sludge line quantifies the remarkable benefit in micropollutants removal when introducing a TH step (Figure 6). In the conventional sludge line, 50% of the micropollutants were removed by digestion, while the rest (48%) end-up into the biosolids, except for a 1.4% that returned in liquors from thickening and dewatering. When introducing a thermal hydrolysis step prior to the digester (TH+AD scenario), the micropollutants removal increased up to 91%, decreasing the biosolids destiny to 8%, and also the ratio returned in liquors (1%). Similar results were obtained when placing the pre-treatment into two digestion steps (AD+TH+AD scenario).

The results here presented are pioneer in quantifying micropollutants removal from a global mass point of view, and exhibit another benefit in biosolids quality by implementing TH, apart from biogas improvement, dewaterability enhancement, odour and viscosity reduction, and pathogens removal.

4. Conclusions

Thermal hydrolysis of sludge enhanced the removal of all the pollutants evaluated, reducing their route to biosolids. TH as inter-treatment showed the highest removal efficiency of solids, organic matter and nitrogen, and the lowest downstream biosolids flow rate. Regarding micropollutants, TH enhanced their overall removal from 50% in conventional AD to 80% in TH schemes. A positive correlation between the concentrations of micropollutants and solids was found, indicating their strong hydrophobic character despite the thermal treatment. Given the self-sufficient energetic balance of thermal hydrolysis, a more valuable and less toxic downstream biosolid could be obtained by TH implementation in WWTP.

Acknowledgements

This study was supported by the Spanish Government (MINECO-CTM2015-70722-R) as well as by the Regional Government of Castilla y León and the EU-FEDER (CLU 2017–09 and UIC 071) and Red Novedar.

References

1. Aemig, Q., Chéron, C., Delgenès, N., Jimenez, J., Houot, S., Steyer, J.P., Patureau, D., 2016. Distribution of Polycyclic Aromatic Hydrocarbons (PAHs) in sludge organic matter pools as a driving force of their fate during anaerobic digestion. Waste Manag. 48, 389–396. doi:10.1016/j.wasman.2015.11.045

2. APHA, 2012. Standard Methods for the Examination of Water and Wastewater, American Water Works Association/American Public Works Association/Water Environment Federation.

3. Appels, L., Baeyens, J., Degrève, J., Dewil, R., 2008. Principles and potential of the anaerobic digestion of waste-activated sludge. Prog. Energy Combust. Sci. 34, 755–781. doi:10.1016/J.PECS.2008.06.002

4. Appels, L., Lauwers, J., Degrève, J., Helsen, L., Lievens, B., Willems, K., Van Impe, J., Dewil, R., 2011. Anaerobic digestion in global bio-energy production: Potential and research challenges. Renew. Sustain. Energy Rev. 15, 4295–4301. doi:10.1016/j.rser.2011.07.121

5. Barber, W.P.F., 2016. Thermal hydrolysis for sewage treatment: A critical review. Water Res. 104, 53–71. doi:10.1016/J.WATRES.2016.07.069

6. Campo, G., Cerutti, A., Zanetti, M., Scibilia, G., Lorenzi, E., Ruffino, B., 2018. Enhancement of waste activated sludge (WAS) anaerobic digestion by means of pre- and intermediate treatments. Technical and economic analysis at a full-scale WWTP. J. Environ. Manage. 216, 372–382. doi:10.1016/J.JENVMAN.2017.05.025

7. Carlsson, M., Lagerkvist, A., Morgan-Sagastume, F., 2016. Energy balance performance of municipal wastewater treatment systems considering sludge anaerobic biodegradability and biogas utilisation routes. J. Environ. Chem. Eng. 4, 4680–4689. doi:10.1016/j.jece.2016.10.030

8. Clara, M., Gans, O., Windhofer, G., Krenn, U., Hartl, W., Braun, K., Scharf, S., Scheffknecht, C., 2011. Occurrence of polycyclic musks in wastewater and receiving water bodies and fate during wastewater treatment. Chemosphere 82, 1116–1123. doi:10.1016/j.chemosphere.2010.11.041

9. Donoso-Bravo, A., Pérez-Elvira, S., Aymerich, E., Fdz-Polanco, F., 2011. Assessment of the influence of thermal pre-treatment time on the macromolecular composition and anaerobic biodegradability of sewage sludge. Bioresour. Technol. 102, 660–666. doi:10.1016/J.BIORTECH.2010.08.035

10. Fernández-Arévalo, T., Lizarralde, I., Fdz-Polanco, F., Pérez-Elvira, S.I., Garrido, J.M., Puig, S., Poch, M., Grau, P., Ayesa, E., 2017. Quantitative assessment of energy and resource recovery in wastewater treatment plants based on plant-wide simulations. Water Res. 118, 272–288. doi:10.1016/j.watres.2017.04.001

11. Gonzalez-Gil, L., Mauricio-Iglesias, M., Carballa, M., Lema, J.M., 2018. Why are organic micropollutants not fully biotransformed? A mechanistic modelling approach to anaerobic systems. Water Res. 142, 115–128. doi:10.1016/j.watres.2018.05.032

12. Gonzalez-Gil, L., Papa, M., Feretti, D., Ceretti, E., Mazzoleni, G., Steimberg, N., Pedrazzani, R., Bertanza, G., Lema, J.M., Carballa, M., 2016. Is anaerobic digestion effective for the removal of organic micropollutants and biological activities from sewage sludge? Water Res. 102, 211–220. doi:10.1016/j.watres.2016.06.025

13. Higgins, M.J., Beightol, S., Mandahar, U., Suzuki, R., Xiao, S., Lu, H.W., Le, T., Mah, J., Pathak, B., DeClippeleir, H., Novak, J.T., Al-Omari, A., Murthy, S.N., 2017. Pretreatment of a primary and secondary sludge blend at different thermal hydrolysis temperatures: Impacts on anaerobic digestion, dewatering and filtrate characteristics. Water Res. 122, 557–569. doi:10.1016/j.watres.2017.06.016

14. Keymer, P., Ruffell, I., Pratt, S., Lant, P., 2013. High pressure thermal hydrolysis as pre-treatment to increase the methane yield during anaerobic digestion of microalgae. Bioresour. Technol. 131, 128–133. doi:10.1016/j.biortech.2012.12.125

15. Liu, T., Liu, Z., Zheng, Q., Lang, Q., Xia, Y., Peng, N., Gai, C., 2018. Effect of hydrothermal carbonization on migration and environmental risk of heavy metals in sewage sludge during pyrolysis. Bioresour. Technol. 247, 282–290. doi:10.1016/j.biortech.2017.09.090

16. López-Serna, R., Marín-de-Jesús, D., Irusta-Mata, R., García-Encina, P.A., Lebrero, R., Fdez-Polanco, M., Muñoz, R., 2018. Multiresidue analytical method for pharmaceuticals and personal care products in sewage and sewage sludge by online direct immersion SPME on-fiber derivatization – GCMS. Talanta 186, 506–512. doi:10.1016/J.TALANTA.2018.04.099

17. McNamara, P.J., Wilson, C.A., Wogen, M.T., Murthy, S.N., Novak, J.T., Novak, P.J., 2012. The effect of thermal hydrolysis pretreatment on the anaerobic degradation of nonylphenol and short-chain nonylphenol ethoxylates in digested biosolids. Water Res. 46, 2937–2946. doi:10.1016/j.watres.2012.03.015

18. Mehari, B. B., Chang, S., Hong, Y., Chen, H., 2018. Temperature-Phased Biological Hydrolysis and Thermal Hydrolysis Pretreatment for Anaerobic Digestion Performance Enhancement. Water 2018, 10(12), 1812. doi: 10.3390/w10121812

19. Narumiya, M., Nakada, N., Yamashita, N., Tanaka, H., 2013. Phase distribution and removal of pharmaceuticals and personal care products during anaerobic sludge digestion. J. Hazard. Mater. 260, 305–312. doi:10.1016/j.jhazmat.2013.05.032

20. Ortega-Martinez, E., Sapkaite, I., Fdz-Polanco, F., Donoso-Bravo, A., 2016. From pre-treatment toward inter-treatment. Getting some clues from sewage sludge biomethanation. Bioresour. Technol. 212, 227–235. doi:10.1016/J.BIORTECH.2016.04.049

21. Pérez-Lemus, N., López-Serna, R., Pérez-Elvira, S.I., Barrado, E., 2019. Analytical methodologies for the determination of pharmaceuticals and personal care products (PPCPs) in sewage sludge: A critical review. Anal. Chim. Acta 1083, 19–40. doi:10.1016/j.aca.2019.06.044

22. Phan, H. V., Wickham, R., Xie, S., McDonald, J.A., Khan, S.J., Ngo, H.H., Guo, W., Nghiem, L.D., 2018. The fate of trace organic contaminants during anaerobic digestion of primary sludge: A pilot scale study. Bioresour. Technol. 256, 384–390. doi:10.1016/j.biortech.2018.02.040

23. Reyes-Contreras, C., Neumann, P., Barriga, F., Venegas, M., Domínguez, C., Bayona, J.M., Vidal, G., 2018. Organic micropollutants in sewage sludge: influence of thermal and ultrasound hydrolysis processes prior to anaerobic stabilization. Environ. Technol. 0, 1–8. doi:10.1080/09593330.2018.1534892

24. Ruffino, B., Cerutti, A., Campo, G., Scibilia, G., Lorenzi, E., Zanetti, M., 2019. Improvement of energy recovery from the digestion of waste activated sludge (WAS) through intermediate treatments: The effect of the hydraulic retention time (HRT) of the first-stage digestion. Appl. Energy 240, 191–204. doi:10.1016/J.APENERGY.2019.02.061

25. Sapkaite, I., Barrado, E., Fdz-Polanco, F., Pérez-Elvira, S.I., 2017. Optimization of a thermal hydrolysis process for sludge pre-treatment. J. Environ. Manage. 192, 25–30. doi:10.1016/j.jenvman.2017.01.043

26. Shana, A., Ouki, S., Asaadi, M., Pearce, P., Mancini, G., 2013. The impact of intermediate thermal hydrolysis on the degradation kinetics of carbohydrates in sewage sludge. Bioresour. Technol. 137, 239–244. doi:10.1016/J.BIORTECH.2013.03.121

27. Singh, R.P., Agrawal, M., 2008. Potential benefits and risks of land application of sewage sludge. Waste Manag. 28, 347–358. doi:10.1016/j.wasman.2006.12.010

28. Souza, T.S.O., Ferreira, L.C., Sapkaite, I., Pérez-Elvira, S.I., Fdz-Polanco, F., 2013. Thermal pretreatment and hydraulic retention time in continuous digesters fed with sewage sludge: Assessment using the ADM1. Bioresour. Technol. 148, 317–324. doi:10.1016/J.BIORTECH.2013.08.161

29. Suschka J. and Grübel, K. 2014. Nitrogen in the Process of Waste Activated Sludge Anaerobic Digestion. Archives of Environmental Protection 40 (2), 123-136. doi: 10.2478/aep-2014-0021

30. Taboada-Santos, A., Braz, G.H.R., Fernandez-Gonzalez, N., Carballa, M., Lema, J.M., 2019. Thermal hydrolysis of sewage sludge partially removes organic micropollutants but does not enhance their anaerobic biotransformation. Sci. Total Environ. 690, 534–542. doi:10.1016/j.scitotenv.2019.06.492

31. Wang, X., Andrade, N., Shekarchi, J., Fischer, S.J., Torrents, A., Ramirez, M., 2018. Full scale study of Class A biosolids produced by thermal hydrolysis pretreatment and anaerobic digestion. Waste Manag. 78, 43–50. doi:10.1016/j.wasman.2018.05.026

32. Yang, D., Hu, C., Dai, L., Liu, Z., Dong, B., Dai, X., 2019. Post-thermal hydrolysis and centrate recirculation for enhancing anaerobic digestion of sewage sludge. Waste Manag. 92, 39–48. doi:10.1016/J.WASMAN.2019.04.044

33. Yang, S., McDonald, J., Hai, F.I., Price, W.E., Khan, S.J., Nghiem, L.D., 2017. Effects of thermal pre-treatment and recuperative thickening on the fate of trace organic contaminants during anaerobic digestion of sewage sludge. Int. Biodeterior. Biodegrad. 124, 146–154. doi:10.1016/j.ibiod.2017.06.002

34. Zhang, X., Li, R., 2018. Variation of antibiotics in sludge pretreatment and anaerobic digestion processes: Degradation and solid-liquid distribution. Bioresour. Technol. 255, 266–272. doi:10.1016/j.biortech.2018.01.100

35. Zhuo, Y., Han, Y., Qu, Q., Cao, Y., Peng, D., Li, Y., 2018. Pre-separation of ammonium content during high solid thermal-alkaline pretreatment to mitigate ammonia inhibition: Kinetics and feasibility analysis. Water Res. 139, 363–371. doi:10.1016/j.watres.2018.03.064

Captions

Table 1. Conventional contamination parameters of sludge in the three scenarios.

Table 2. Traceability of conventional contaminants and organic micropollutants for the three scenarios.

Table 3. Characterization of organic micropollutants in solid and liquid phases of mixed and digested sludge, fresh or thermally pre-treated.

Table 4. Quantification of organic micropollutants in streams of the three scenarios.

Figure 1. Block diagrams of the three scenarios of sludge treatment evaluated.

Figure 2. Fate of conventional contaminants from the inlet to biosolids, removal or return liquors, calculated for the three scenarios.

Figure 3. Percentage of mass, solids and emerging micropollutants in the solid phase from centrifugation of mixed and digested sludge, fresh or thermally pre-treated.

Figure 4. Removal efficiency of micropollutants by conventional digestion of sludge (a), and by a combination of thermal pre-treatment and digestion (b).

Figure 5. Percentage of organic micropollutants removed from the fresh sludge inlet to the digested sludge in the different scenarios.

Figure 6. Fate of organic micropollutants from the inlet to biosolids, removal and return liquors, calculated for the three scenarios.